## Slide 1
HMI
HMI
PT-W
PT-L
W0
W0
L2
L2
L1
L1
ORCHESTRATOR
ORCHESTRATOR
L0
L0
WR
MGMT

## Slide 2
W
S
H
O
L
B
Z
V
Different Site Sets - Cryptographic Key Isolation
Blue Key, Blue Set, Blue SDWAN
Orange Key, Set, SDWAN
OOB Key, Set, SDWAN

## Slide 3
w_rtr
S
l_rtr
b_rtr
L-SA_B
W
L
B
S-SA_B
B-SA_O
S-SA_B
W-SA_B
B-SA_O
L-SA_O
S-SA_O
S-SA_O
W-SA_O
W-SA_B
L-SA_B
B-SA_O
W-SA_O
L-SA_O
s_rtr
S-SA_O
W-SA_O
L-SA_O
WB
PT
SB
PT
LB
PT
W_CT
S_CT
L_CT
B_CT
WO
PT
LO
PT
SO
PT
BO
PT
VPLS
VPN ID202
VPLS
VPN ID101
Different Site Sets – Different Keys paired to different SAs providing Cryptographically isolated PT subnets on Single INE – PRODs & OOB
WM
PT
SM
PT
LM
PT
BM
PT
SDWAN
OOB
CT Core
OOB
rtr VRF:
PRODS
rtr VRF:
CT_OOB
SDWAN
OOB
SDWAN
OOB
SDWAN
OOB
Blue
SDWAN
Blue
SDWAN
Blue
SDWAN
Orange
SDWAN
Orange
SDWAN
Orange
SDWAN
Orange
SDWAN

## Slide 4
s_rtr
PROD Shared Subnet
VPLS VPN ID 101
W_CT
S_CT
L_CT
Dynamic Routing
(OSPF, tbd)
Any <name>_CT 
Any <name>_CT
w_rtr
l_rtr
W
L
S
PROD L2 Circuit
L2 Circuit
L2 Circuit
Underlay
SDWAN
Overlay
Security Associations
Mesh SAs
SA
SA
SA
S
EdgeNode
W
EdgeNode
L
EdgeNode
All LAN Connectivity Tunneled
WAN0
LANs
WAN0
WAN0
LANs
LANs
Orchestrator
OOB Shared Subnet
VPLS VPN ID 202
L2 Circuit
L2 Circuit
L2 Circuit
SB_PT
WB_PT
LB_PT
PROD Mesh
IPSec VPN
to Cover Type 1
.1
.2
.3
OOB
VRF
s_oob
SDWAN
MGMT
SDWAN
OOB VRF
PROD1 VRF “Secure Route Table”
CT
OOB VRF
SO_PT
PROD2 VRF
CT
MGMT
Meshed & Encapsulated CT Core with separate circuits for OOB VRF
WAN1.10
WAN1.86
SM_PT
MGMT

## Slide 5
Inside Switch
SPAN – Monitor
L2 some L3
CT core
BOD Encapsulate
INE CT core
OOB SDWAN
Key Z
CT core
rtr OOB
MGMT
Outside L3 Switch
SPAN – Monitor
Manual IPSec Mesh
Underlay
Qty 3:
EdgeConnect
10106
Qty 3:
C9200CX
Qty 3:
INE
Qty 3:
C9300
SRDs / VRFs
CT
Orchestrator
Qty1: Server SYS-120U-TNR
Prod1 SDWAN
KEY Y
Qty 2:
Suite B Keys
Qty 3:
L2 VPN CCSDs
PROD1
Qty 3:
L2 VPN CCSDs
CT OOB
Qty 1:
CT OOB MGMT
Jump Box
CT Core
OOB
Mesh
SDWAN
Edge Node
3 Site Provisional HW & Circuit BOM
Orchestrator
Prod1
Underlay
?
INE
OOB MGMT
PT:
Multi-Key
Separated PTs
WAN1 802.1q Trunk
Map VRF<>PT (Key Isolated)
Map VLAN <> VRF (SRD)
WAN
LAN
Underlay
Overlay
IPSec
Cert/PSK

## Slide 6
Inside Switch
SPAN – Monitor
L2 some L3
CT core
BOD Encapsulate
INE CT core
OOB SDWAN
Key Z
CT core
rtr OOB
MGMT
Outside L3 Switch
SPAN – Monitor
Manual IPSec Mesh
Underlay
Qty 2:
EdgeConnect
10106
Qty 2:
C9200CX
Qty 2:
INE
Qty 2:
C9300
SRDs / VRFs
CT
Orchestrator
Qty1: Server SYS-120U-TNR
Prod1 SDWAN
Key Y
Qty 2:
Suite B Keys
Qty 2:
L2 VPN CCSDs
PROD1
Qty 2:
L2 VPN CCSDs
CT OOB
Qty 1:
CT OOB MGMT
Jump Box
CT Core
OOB
Mesh
SDWAN
Edge Node
2 Site Provisional HW & Circuit BOM
Orchestrator
Prod1
Underlay
?
INE
OOB MGMT
PT:
Multi-Key
Separated PTs
WAN1 802.1q Trunk
Map VRF<>PT (Key Isolated)
Map VLAN <> VRF (SRD)
Underlay
Overlay
IPSec
Cert/PSK

## Slide 7
Inside Switch
SPAN – Monitor
L2 some L3
CT core
BOD Encapsulate
INE CT core
OOB SDWAN
Key Z
CT core
rtr OOB
MGMT
Outside L3 Switch
SPAN – Monitor
Manual IPSec Mesh
Underlay
Qty 2:
EdgeConnect
10106
Qty 2:
C9200CX
Qty 2:
INE
Qty 2:
C9300
SRDs / VRFs
CT
Orchestrator
Qty1: Server SYS-120U-TNR
Prod1 SDWAN
Key Y
Qty 2:
Suite B Keys
Simulated
ISP
Qty 1:
CT OOB MGMT
Jump Box
CT Core
OOB
Mesh
SDWAN
Edge Node
2 Site RDTE HW
Orchestrator
Prod1
Underlay
?
INE
OOB MGMT
PT:
Multi-Key
Separated PTs
WAN1 802.1q Trunk
Map VRF<>PT (Key Isolated)
Map VLAN <> VRF (SRD)
Underlay
Overlay
IPSec
Cert/PSK
Simulated
ISP

## Slide 8
Circuit Edge Device (BOD Encapsulator)
HW: Approx. $2000
C9200CX-8P-2X2G
HW & SW Devices
As shown in diagrams:
Full IOS-XE w/OSPF and VRF Lite
SW: IOS-XE Included

## Slide 9
Circuit Edge Device (BOD Encapsulator)
HW: Approx. $2000
C9200CX-8P-2X2G
HW & SW Devices
As shown in diagrams:
Full IOS-XE w/OSPF and VRF Lite
SW: IOS-XE Included

## Slide 10
Inside Switch
HW: Approx. $2000
C9200CX-8P-2X2G
HW & SW Devices
As shown in diagrams:
Full IOS-XE w/OSPF and VRF Lite
SW: IOS-XE Included

## Slide 11
Orchestrator VM on 1U server w/ Windows Server 2025 Host running Hyper-V
HW: SYS-120U-TNR Approx. $6500
HW & SW Devices
SW: Windows Server 2025 for Hyper-V (No cost)

## Slide 12
Edge Connect
HW Approx. $ 3000
EC‑10106
As shown in diagrams:
Site Sets - Cryptographic Key Isolation
SW Approx. $ 686/yr per device (20Mbps)
Edge Node (HW&SW) Approx. $ 3700

## Slide 13
Notes:
1 Circuit or 2 Circuits:
  1 L2 VPN Circuit IOC
  2 Circuits (1 per IEC at FOC)
Redundant Inner EdgeConnect (IEC) Node:
  No – IOC
  Yes – Lab and FOC
HAIPE Cover
  Yes  Outer OEC – same model as IEC
  No  No OEC
Hub Site - Inner-SW
  C9200CX-8P-2X2G
Hub Orchestrator VM Server
SYS-120U-TNR
  Dedicated 1U Supermicro w /Server 2025 Hyper-V
  ~25 EC gateways
  8 CPU / 24 G / 512 GB
  1 U Windows 2025 – w Hyper-V
6. SYS-120U-TNR
  Dedicated 1U Supermicro w /Server 2025 Hyper-V
  ~25 EC gateways
  8 CPU / 24 G / 512 GB
  1 U Windows 2025 – w Hyper-V

## Slide 14
Site L
Site N
Edge Router – New or Existing
HAIPE
SDWAN Gateway
L2 VPN Circuit
Or L3 VPN Circuit
Non-Terrestrial
WAN0 - Initial
WAN1 - Later
WAN0 - Initial
WAN1 - Later
UNDERLAY - Manually Configured – Very Infrequent Changes
OVERLAY - Dynamically Orchestrated – Changes with conditions
Dynamic Automatic IPSec VPN Tunnel
Site LAN
Infrastructure
Site LAN
Infrastructure
SDWAN Orchestrator